Submission Requirements - Test Measures
All test measures submitted to the Pennsylvania Standards Laboratory for calibration must meet the following requirements prior to submission:
· All petroleum products and residue must be removed from all interior and exterior surfaces.  The laboratory will not calibrate test measures containing petroleum products.
· Test measures must be complete and serviceable.  
· Leaks must be repaired
· Dents must be removed
· Cracked or broken site tubes must be replaced 
· Scale plates shall be legible and in a good state of repair
· Rust must be removed from the inside of the measure
